# Description  of  140(160) ml  syringes  for  catheters

Three-part, single use syringes of 140(160) ml with the conical fitting for catheters are sterile, non-pyrogenic and non-toxic. Customary they are called “Jeanette”. They consist of three pieces: barrel, plunger and white rubber piston. Barrel and plunger are made of transparent plastic (polypropylene) and the rubber piston (oring) is made of a special, medical quality rubber (no latex).

The syringes are suitable for the cooperation with catheters, stomach probes. They are used for irrigations (lavages) and aspiration of fluids and secretions ; for feeding the patients (for example the gastrostomy).

The conical fitting is in a central part of the bottom of the barrel.

There is a LUER connector in the plunger of the syringe, it can be easily removed and after putting on the catheter fitting, the syringe can be also used with a regular needle or drain of smaller diameter.

The syringes are sterilized with ETO sterilization process. The process has been validated according the present, obligatory standard, which is confirmed by suitable certificates.

The syringes of 140(160) ml have clear and readable scale, marked every 5,0 ml. The figures are printed on the scale every 20 ml. The accuracy of the scale is guaranteed.

The rubber piston is very tight to the internal flank of the barrel.

The unit package is created as blister-pack formed of welded paper and film. It protects the sterile syringe from the contamination during the whole life time of the product.

The transport box contains 90 pieces of the syringes.

On each unit package and transport box  there is a readable and clear information, which allows fast and easy identification of the syringes, its LOT number and expire date.

The life – time of the 140 (160) ml syringes for catheters is 3 years.

The REF Number:   SC.140.01

ATTENTION:  Those syringes are also manufactured with the rubber piston (oring) for the industrial use – the oring is made of a special rubber which is resistant to dye, ink, solvents, oils etc.

The usage of these syringes in other branches then medical is very wide – they are used in computer and food industries (meat and sausage production), during the petrol control to collect the samples etc.

JANPOL is also a distributor of needles used for those purposes.