# Description  of  50(60) ml  syringes  for  catheters

Three-part, single use syringes of 50(60) ml with the conical fitting for catheters are sterile, non-pyrogenic and non-toxic. Customary they are called “Jeanette”. They consist of three pieces: barrel, plunger and rubber piston. Barrel and plunger are made of transparent plastic (polypropylene) and the rubber piston is made of a special, medical quality rubber (no latex).

The syringes are suitable for the cooperation with catheters, stomach probes. They are used for irrigations (lavages) and aspiration of fluids and secretions ; for feeding the patients (for example the gastrostomy).

The conical fitting is in a central part of the bottom of the barrel.

The syringes are sterilized with ETO sterilization process. The process has been validated according the present, obligatory standard, which is confirmed by suitable certificates.

The syringes of 50(60) ml have clear and readable scale, marked every 1,0 ml. The figures are printed on the scale every 10 ml. The accuracy of the scale is guaranteed.

The rubber piston is very tight to the internal flank of the barrel.

The unit package is created as blister-pack formed of welded paper and film. It protects the sterile syringe from the contamination during the whole life time of the product.

The transport box contains 210 pieces of the syringes.

On each unit package and transport box  there is a readable and clear information, which allows fast and easy identification of the syringes, its LOT number and expire date.

The life – time of the 50 (60) ml syringes for catheters is 3 years.

The REF Number:   SC.50.01