# Description  of  50 ml LUER and  LUER – LOCK  syringes  (amber)

Three-part, single use syringes of 50 ml with the conical fitting LUER-LOCK are sterile, non-pyrogenic and non-toxic. The syringes are in amber (orange) colour regarding their special, intended usage – this type of syringes are used to transport the cytostatic (sensitive to light) medicines to the patients in cooperation with the infusion pumps. The syringes consist of three pieces: barrel, plunger and rubber piston. The barrel is made of orange plastic (polypropylene) , the plunger is made of transparent plastic (polypropylene) and the rubber piston is made of a special, medical quality rubber (no latex).

The standard conical fitting LUER is surrounded by screw and meets the requirements of the standard ISO 594-2 (EN 1707) and it is in a central part of the bottom of the barrel.

The syringes are sterilized with ETO sterilization process. The process has been validated according the present, obligatory standard, which is confirmed by suitable certificates.

The syringes of 50 ml have clear and readable scale, marked every 1,0 ml. The figures are printed on the scale every 10 ml. The accuracy of the scale is guaranteed. The scale is extended up to 60 ml.

The rubber piston is very tight to the internal flank of the barrel.

The unit package is created as blister-pack formed of welded paper and film. It protects the sterile syringe from the contamination during the whole life time of the product.

The transport box contains 220 pieces of the syringes.

On each unit package and transport box  there is a readable and clear information, which allows fast and easy identification of the syringes, its LOT number and expire date.

The life – time of the 50 ml amber syringe is 3 years.

ATTENTION:  For a special order we can produce the 50 ml amber syringes with the LUER conical fitting. The order must be placed at least 3-4 weeks before the time of delivery.

The REF Number:   SB.50.01  (for LUER amber syringes)

The REF Number:   SB.50.02  (for LUER - LOCK amber syringes)